


	TYPE OF ENCLOSURE
	J165K

	Canopy
	M226




	GENSET
	
	Dimensions
	
	Weight
	
	dB(A)@1m
	
	dB(A)@7m
	
	dB(A)@15m

	J165K
	3508 m x 1200 mx 1830 m

2110 kgs

138 in x 47 in x 72 in

4652 lbs


	78,6
	
	68,8
	
	64,6


Standard Specifications

£ They protect stationary and mobile generator against the bad weather, against the theft and enables the reduction of the noise level. 

£ Enclosures are of 12 gauge steel. Steel sheet are electro zinc coated before painting (inside and outside) with a polyester powder rust 

     inhibiting coat.

£ High corrosion resistance: stainless covered with zinc and made in dichromate, bolts and rivets, anodized aluminium alloy hinges flexible seals between body sections.

£ Soundfoam between 20 and 50 mm (1 to 2 in)  acoustical sound treatment.

£ Lifting eye(s) on top of the enclosure fixed to the skid.

£ Large doors allow easy access to the generator set for service and monitoring purposes.

£ window in “securit” glass mounted on enclosure door for control viewing. 

£ A critical silencer is mounted inside the enclosure.

£ Emergency stop button is accessible from outside enclosure.


#GE

Spécifications et conception susceptibles d’être modifiées sans préavis

