
[image: image1.png]E'SDMO




	TYPE OF ENCLOSURE
	J44K

	Canopy
	M127


[image: image2.png]



	GENSET
	
	Dimensions
	
	Weight
	
	dB(A)@1m
	
	dB(A)@7m
	
	dB(A)@15m

	J44K
	2080 m x 904 mx 1415 m

1040 kgs

81 in x 35 in x 55 in

2293 lbs


	74,8
	
	65
	
	61


Standard Specifications

 They protect stationary and mobile generator against the bad weather, against the theft and enables the reduction of the noise level. 

 Enclosures are of 12 gauge steel. Steel sheet are electro zinc coated before painting (inside and outside) with a polyester powder rust 

     inhibiting coat.

 High corrosion resistance: stainless covered with zinc and made in dichromate, bolts and rivets, anodized aluminium alloy hinges flexible seals between body sections.

 Soundfoam between 20 and 50 mm (1 to 2 in)  acoustical sound treatment.

 Lifting eye(s) on top of the enclosure fixed to the skid.

 Large doors allow easy access to the generator set for service and monitoring purposes.

 window in “securit” glass mounted on enclosure door for control viewing. 

 A critical silencer is mounted inside the enclosure.

 Emergency stop button is accessible from outside enclosure.

[image: image3.png]E'SDMO



#GE

Spécifications et conception susceptibles d’être modifiées sans préavis

[image: image3.png]